COMPLETION OF WORKS / CERTIFICATE OF APPROVAL

| DOCUMENT REFERENCE: MMO-RD6-NT358273-750580-1 |  |  | TIS AGENCY: SOCOTEC ARABIA |  |
| --- | --- | --- | --- | --- |
| Number of buildings: 1 | Version:0 |  | DATE OF ISSUE: 27/3/2026 |  |
| RESPONSIBLE EXPERTS |  |  |  |  |
| SURNAME, NAME |  | PHASE | DEGREE | SPECIALITY |
| Mohamed Mossad |  | Senior | Civil Engineering Bachelor | Civil |
| AUTOR of THIS REPORT: Mohamed Mossad PHONE NUMBER: +966546380314 EMAIL: mohamed.mossad@socotec.com |  |  |  |  |

| I - PROJECT INFORMATION |  |  |  |
| --- | --- | --- | --- |
| PROJECT TITLE (NAME): 3094 قطعه رقم ADDRESS OF THE PREMISES: حى لبن - مدينة الرياض PRINCIPAL/OWNER: مؤسسة طاقات معماريه للتطوير العقاري BUILDINGS INCLUDED IN THE PROJECT AND ITS USE: Residential |  |  |  |
| II – ACHIEVEMENT OF WORKS |  |  |  |
| Does this report concern the whole project? ☐ YES ☒ NO If NO, please give the buildings concerned (*): Number of buildings: 1. This assessment includes considerations for solidity and stability, including the envelope elements; waterproofing of roofs and facades; and wind load. (*) Please refer to the listed buildings in section I and provide a location plan. |  |  |  |
| II – INFORMATION |  |  |  |
| II.1. TIS involvement | Starting date of the works: 1/1/2025 Date of achievement of the works: 6/3/2025 Date of TIS last site visit: |  |  |
|  | Date of Occupancy Certificate: 04-06-2025 ☒ Expected ☐ Confirmed |  |  |
| II.3. Sum insured | Sum insured as per RD0: 1,016,636SR Final sum insured: 1,016,636SR |  |  |
| III – MODIFICATIONS REGARDING RD0/RD1 |  |  |  |
| Was there any modification regarding RD0? ☐ YES ☒ NO Was there any modification regarding RD1? ☐ YES ☒ NO If YES to any of the above questions, please describe below the modifications (section, modification): |  |  |  |
| IV – ISSUED TIS REPORTS |  |  |  |
| REPORT |  | REFERENCE | DATE OF ISSUE |
| ☒ RD0 – Initial risk assessment report |  | HOS-RD0-NT358273-1 |  |
| ☐ RD1 – Special Foundation Report |  |  |  |
| ☐ RD2 – Innovative materials/procedures report |  |  |  |
| ☒ RD6 – Completion of works |  | MMO-RD6-NT358273-750580-1 | REF DATE \h \* MERGEFORMAT 27/3/2026 |
| ☐ RD7 – INCIDENT ☐COMMENCED WORKS ☐ INTERRUPTION OF WORKS FOR >1 MONTH ☐ ACCIDENT/LOSS DURING CONSTRUCTION ☐ OTHER |  |  |  |
| V – MODIFICATIONS |  |  |  |
| V.1. FOUNDATION AND STRUCTURE Was there any modification of the foundation system or the structure after issuing the RD0/RD1 report?; ☐ YES ☒ NO. If YES, was there a validation of the modification/s (design/calculi)?; ☐ YES ☐ NO. If YES, please attach the justification by the project manager.. Does the TIS find acceptable the modification (including the justification by project manager)?; ☐ YES ☐ NO. If NO, please issue a technical reservation.. Is the execution satisfactory?; ☒ YES ☐ NO. If NO, please issue a technical reservation.. |
| V.2. ENVELOPE (ROOF AND FAÇADE) Was there any modification of the envelope, including the roof and the façades, after issuing the RD0 report?; ☐ YES ☒ NO. If YES, was there a validation of the modification/s (design/calculi)?; ☐ YES ☐ NO. If YES, please attach the justification by the project manager.. Does the TIS find acceptable the modification (including the justification by project manager)?; ☐ YES ☐ NO. If NO, please issue a technical reservation.. Is the execution satisfactory?; ☒ YES ☐ NO. If NO, please issue a technical reservation.. |
| V.3. WATERPROOFING V.3.1 ROOFS Was there any modification of the waterproofing system of the roofs, after issuing the RD0 report?; ☐ YES ☒ NO. If YES, was there a validation of the modification/s (design/calculi)?; ☐ YES ☐ NO. If YES, please attach the justification by the project manager.. Does the TIS find acceptable the modification (including the justification by project manager)?; ☐ YES ☐ NO. If NO, please issue a technical reservation.. Is the execution satisfactory?; ☒ YES ☐ NO. If NO, please issue a technical reservation.. V.3.2 FAÇADES Was there any modification of the waterproofing system of the façades, after issuing the RD0 report?; ☐ YES ☒ NO. If YES, was there a validation of the modification/s (design/calculi)?; ☐ YES ☐ NO. If YES, please attach the justification by the project manager.. Does the TIS accept the modification?; ☐ YES ☐ NO. If NO, please issue a technical reservation.. Is the execution satisfactory?; ☒ YES ☐ NO. If NO, please issue a technical reservation.. V.3.3 BASEMENT (if required) Was there any modification of the waterproofing system of the basement, after issuing the RD0 report?; ☐ YES ☒ NO. If YES, was there a validation of the modification/s (design/calculi)?; ☐ YES ☐ NO. If YES, please attach the justification by the project manager.. Does the TIS accept the modification?; ☐ YES ☐ NO. If NO, please issue a technical reservation.. Is the execution satisfactory?; ☒ YES ☐ NO. If NO, please issue a technical reservation.. |
| VI – ROOF WATERPROOFING TESTS |  |  |  |
| Has a water ponding test taken place?; ☒ YES ☐ NO. If NO, please issue a technical reservation. If YES, please complete the information below (and attach the test report to this document): Date of the test: Tested surface: Roof. Location: حى لبن - مدينة الرياض Duration: 48 hours. Result: Approved (refer to the attached Waterproofing Certificate). If YES, does the TIS find the results satisfactory?; ☒ YES ☐ NO. Is the execution satisfactory?; ☒ YES ☐ NO. If NO to any question above, please issue a technical reservation. |
| VII – SITE VISITS INFORMATION |  |  |  |
| Please list below the site visits made during the construction works: Visit reference; Date; Site Inspector; Inspected part of the works. V01-xxxxx-xxxx-01; 01/01/2026; Mohamed Mossad; foundations. V02-xxxxx-xxxx-01; 01/02/2026; Mohamed Mossad; columns. Click or tap here to enter text.; Click or tap here to enter text.; Click or tap here to enter text.; Click or tap here to enter text.. Click or tap here to enter text.; Click or tap here to enter text.; Click or tap here to enter text.; Click or tap here to enter text.. Click or tap here to enter text.; Click or tap here to enter text.; Click or tap here to enter text.; Click or tap here to enter text.. |
| Please list below any defect and disorder not repaired at the date of issuing of this report not being a technical reservation. |  |  |  |
| VIII – LIST OF TECHNICAL RESERVATIONS ISSUED |  |  |  |
| Technical reservations issued and closed: ☒YES ☐ NO. Concept; Issuing certificate (reference/date); Closing certificate (reference/date). Risk Technical Assessment; HOS-RD0-NT358273-1. Technical reservations issued not closed: ☐ YES ☒ NO. Concept; Issuing certificate (reference/date); Expected date of closing or “FINAL”. |
| IX – FINAL CONCLUSION (DESIGN + EXECUTION) |  |  |  |
| IS THE EXECUTION OF WORKS ADAPTED TO THE PROJECT? INCLUDING THE EVENTUAL MODIFICATIONS?; ☒ YES ☐ NO. Please expose and develop your answer above in detail. We Branch of Socotec Liban had performed the inspection for construction works on IDI Proposal number 358273 have been executed based on construction drawings and geotechnical recommendations along with meets Saudi Building Code Specifications. therefore, Considered as Satisfactory with no observations. Pending & Outstanding Documentation The client has not yet provided the following essential records, which are required to fully validate final compliance: 1. Cost letter — A letter from the contractor stating the actual cost of the project after completion, which the owner did not provide to us 2. Contractor letter — A letter from the contractor confirming that design remarks sent by email or noted during visits were taken into consideration during execution. 3. Engineering supervision letter — A stamped certificate from the supervising engineering office covering all project items 4. Calculation notes — Approved structural design calculation notes & design criteria 5. Soil / compaction tests — All results for compaction tests under foundations, between foundations, column necks, and grade beams 6. Concrete strength tests — Compressive strength results for foundations, column necks, grade beams, ground floor columns/slab, first floor columns/slab, and annex floor. 7. Steel invoices / warranty — All rebar delivery invoices or SASO-certified warranty 8. Material warranty certificates — Warranty certificates for structural and façade elements . This report has been prepared based solely on the documents and information made available by the client. Responsibility for providing, completing, and ensuring the accuracy of such documents remains with the client. Socotec shall not be held liable for any deficiencies, omissions, or inaccuracies in the submitted documentation, including the absence of the above-mentioned test reports. |

Issued in Riyadh on 27/3/2026

Author:                                                                             ENGINEER IN CHARGE                          HEAD OF LOCAL DEPARTMENT

Eng. Mohamed Mossad                                                     Reviewer:                                               MANAGER

Eng. Mohamed Mossad                           Eng. NIZAR LAZREG

ADDENDUM TO RD6

THIS DOCUMENT, DULY COMPLETED BY THE TIS, AND SIGNED BY THE TIS AND THE POLICYHOLDER, MUST BE ATTACHED TO THE OCCUPANCY CERTIFICATE, SO THIS ANNEX MUST BE ISSUED PRIOR TO THE DATE OF THE OCCUPANCY CERTIFICATE.

| DOCUMENT REFERENCE: MMO-RD6-NT358273-750580-1 |  | TIS AGENCY: SOCOTEC ARABIA |  |
| --- | --- | --- | --- |
| VERSION:0 |  | DATE OF ISSUE: 27/3/2026 |  |
| RESPONSIBLE EXPERTS |  |  |  |
| SURNAME, NAME | PHASE | DEGREE | SPECIALITY |
| Mohamed Mossad | Senior | Civil Engineering Bachelor | Civil |
| AUTOR of THIS REPORT: Mohamed Mossad PHONE NUMBER: +966546380314 EMAIL: mohamed.mossad@socotec.com |  |  |  |
| PROJECT TITLE (NAME): 3094 قطعه رقم ADDRESS OF THE PREMISES: حى لبن - مدينة الرياض PRINCIPAL/OWNER: مؤسسة طاقات معماريه للتطوير العقاري PARTIAL HANDOVER/OCCUPANCY: ☐ YES ☒ NO If YES, buildings/part of the buildings concerned: |  |  |  |

1. FINAL TECHNICAL RESERVATIONS (not expected to be closed at the date of the Occupancy Certificate); ☐ YES ☒ NO. If YES, please complete the table below: Issuing certificate (reference/date); Concept.

2. DEFICIENCIES, DAMAGES, DEFECTS OR FAILURES not repaired at the date of issuing of this report, not being a technical reservation; ☐ YES ☒ NO. If YES, please list below:

Issued in Riyadh on  27/3/2026

Author:                                                                             ENGINEER IN CHARGE                          HEAD OF LOCAL DEPARTMENT

Eng. Mohamed Mossad                                                     Reviewer:                                               MANAGER

Eng. Mohamed Mossad                           Eng. NIZAR LAZREG

Appendices